## Slide 1: The Analysis of Fatty Acid Content in Various Oils
Josie Welker ‘21
Chemistry Department

## Slide 2: Overview
Fatty acid methyl ester structures
Significance of fatty acids
Transesterification
Sample preparation
Instrumentation
Data collection
Data analysis

## Slide 3: Fatty Acid Methyl Ester Structures
Stearic Acid Methyl Ester (18:0)
Parent Ion: 298 m/z
Palmitic Acid Methyl Ester (16:0)
Parent Ion: 270 m/z
Notes: first chemical characterisation of organosulfates in the upper Midwestern US and the first investigation of their stability on archived filter substrates

## Slide 4: Fatty Acid Methyl Ester Structures
Oleic Acid Methyl Ester (18:1)
Parent Ion: 296 m/z
Notes: first chemical characterisation of organosulfates in the upper Midwestern US and the first investigation of their stability on archived filter substrates

## Slide 5: Fatty Acid Methyl Esters Structures
Linoleic Acid Methyl Ester (18:2)
Parent Ion: 294 m/z
Linolenic Acid Methyl Ester (18:3)
Parent Ion: 292 m/z
Notes: first chemical characterisation of organosulfates in the upper Midwestern US and the first investigation of their stability on archived filter substrates

## Slide 6: The Significance of Fatty Acids
Edible Fat/Oil | 16:0 (Palmitic by %) | 18:0 (Stearic by %) | 18:1 (Oleic by %) | 18:2 (Linoleic by %) | 18:3 (Linolenic by %)
Safflower Oil | 4.3 | 1.9 | 14.4 | 74.6 | 0.0
Maize Oil | 15.6 | 2.9 | 34.7 | 43.6 | 1.6
Cow Fat (tallow) | 24.9 | 18.9 | 36.0 | 3.1 | 0.6
Olive Oil | 11.3 | 2.0 | 71.3 | 9.8 | 0.8
Rapeseed Oil | 4.3 | 2.1 | 61.7 | 19.0 | 9.1
Soybean Oil | 10.5 | 4.4 | 22.6 | 51.0 | 6.8
Grapeseed Oil | 6.7 | 2.7 | 15.8 | 69.9 | 0.1
Salema Fish Oil | 31.4 | 6.3 | 10.1 | 1.1 | 0.6
Reference: Harper, Clare S., Macdonald, Faith V., and Braun, Kevin L. Lipid Residue Analysis of Archaeological Pottery: An Introductory Laboratory Experiment in Archaeological Chemistry. 2017.
Notes: Climate- radiative forcing the difference between insolation (sunlight) absorbed by the Earth and energy radiated back to space. health – respiratory illnesses They are primarily formed through the acid-catalysed reactive uptake of gas-phase epoxides onto sulfate aerosol (Surratt et al. 2010), but have also been found to form by the nucleophilic substitution of organic nitrate by sulfate.

## Slide 7: Transesterification
+
MeOH
+
Base Catalyst
(KOH)
Linoleic Acid
Linoleic Acid Methyl Ester
Notes: first chemical characterisation of organosulfates in the upper Midwestern US and the first investigation of their stability on archived filter substrates

## Slide 8: Sample Preparation
Combined 200 ul of the sample with 40 ul of anhydrous methanol into a microcentrifuge tube
Added 4.3 ul of 5 M KOH to the top methanol layer (catalyst)
Sonicated the tubes in an ultrasonic bath for 30 minutes
Added 200 ul of 0.1 M acetic acid (neutralize the base catalyst)
Centrifuged the solution at 6,000 rpm for 5 minutes
Transferred 40 ul of the top layer to a GC vial and diluted with pentane
Notes: first chemical characterisation of organosulfates in the upper Midwestern US and the first investigation of their stability on archived filter substrates

## Slide 9: Instrumentation
Carrier Gas (Mobile Phase)
Sample Injector
Column
Transfer Line
Filament
Ion Source
Mass Analyzer
Vacuum System
Detector
Output and Data Analysis
Notes: included an organic eluent of ammonium acetate buffer (10 mM, pH 9) in acetonitrile and ultrapure water (95 : 5 v/v) and an aqueous eluent of ammonium acetate buffer (10 mM, pH 9) in ultrapure wate. MassLynx and Quanlynx software

## Slide 10: Data Collection
  The samples were analyzed with a Griffin 450 GC-MS
    Internal electron ionization
    Cylindrical (quadrupole) ion trap analyzer
+
+
-
-
Notes: included an organic eluent of ammonium acetate buffer (10 mM, pH 9) in acetonitrile and ultrapure water (95 : 5 v/v) and an aqueous eluent of ammonium acetate buffer (10 mM, pH 9) in ultrapure wate. MassLynx and Quanlynx software

## Slide 11
Time (minutes)
Total Ion Chromatogram (TIC)
Grapeseed Oil Sample
Linoleic Acid Peak
Notes: Methyltetrol sulfate is the most common organosulfate observed in ambient samples worldwide and this may arise from differences in meteorology

## Slide 12
M/Z Ratio
Intensity
Linoleic Acid
(5.4 minutes)
Notes: Methyltetrol sulfate is the most common organosulfate observed in ambient samples worldwide and this may arise from differences in meteorology

## Slide 13
Time (minutes)
Total Ion Chromatogram (TIC)
Grapeseed Oil Sample
Linoleic Acid Peak
Palmitic Acid Peak
Oleic Acid Peak
Notes: Methyltetrol sulfate is the most common organosulfate observed in ambient samples worldwide and this may arise from differences in meteorology

## Slide 14: The Significance of Fatty Acids
Edible Fat/Oil | 16:0 (Palmitic by %) | 18:0 (Stearic by %) | 18:1 (Oleic by %) | 18:2 (Linoleic by %) | 18:3 (Linolenic by %)
Safflower Oil | 4.3 | 1.9 | 14.4 | 74.6 | 0.0
Maize Oil | 15.6 | 2.9 | 34.7 | 43.6 | 1.6
Cow Fat (tallow) | 24.9 | 18.9 | 36.0 | 3.1 | 0.6
Olive Oil | 11.3 | 2.0 | 71.3 | 9.8 | 0.8
Rapeseed Oil | 4.3 | 2.1 | 61.7 | 19.0 | 9.1
Soybean Oil | 10.5 | 4.4 | 22.6 | 51.0 | 6.8
Grapeseed Oil | 6.7 | 2.7 | 15.8 | 69.9 | 0.1
Salema Fish Oil | 31.4 | 6.3 | 10.1 | 1.1 | 0.6
Reference: Harper, Clare S., Macdonald, Faith V., and Braun, Kevin L. Lipid Residue Analysis of Archaeological Pottery: An Introductory Laboratory Experiment in Archaeological Chemistry. 2017.
Notes: Climate- radiative forcing the difference between insolation (sunlight) absorbed by the Earth and energy radiated back to space. health – respiratory illnesses They are primarily formed through the acid-catalysed reactive uptake of gas-phase epoxides onto sulfate aerosol (Surratt et al. 2010), but have also been found to form by the nucleophilic substitution of organic nitrate by sulfate.

## Slide 15: Acknowledgements
Dr. Bradley Sturgeon
The Monmouth College Chemistry Department
Notes: Methyltetrol sulfate is the most common organosulfate observed in ambient samples worldwide and this may arise from differences in meteorology

## Slide 16: Questions

## Slide 17: References
Harper, Clare S., Macdonald, Faith V., and Braun, Kevin L. Lipid Residue Analysis of Archaeological Pottery: An Introductory Laboratory Experiment in Archaeological Chemistry. Journal of Chemical Education 2017 94 (9), 1309-1313 DOI: 10.1021/acs.jchemed.7b00225
Notes: Methyltetrol sulfate is the most common organosulfate observed in ambient samples worldwide and this may arise from differences in meteorology

## Slide 18: Instrumentation
Carrier Gas (mobile phase)
Column Oven
Column
Detector
Computer Data
Sample Injection Port
Notes: included an organic eluent of ammonium acetate buffer (10 mM, pH 9) in acetonitrile and ultrapure water (95 : 5 v/v) and an aqueous eluent of ammonium acetate buffer (10 mM, pH 9) in ultrapure wate. MassLynx and Quanlynx software

## Slide 19
M/Z Ratio
Intensity
Palmitic Acid (Grapeseed Oil)
(~4 minutes)
143
69
74
87
239
227
55
271
129
185
111
157
199
83

## Slide 20
M/Z Ratio
Intensity
Oleic Acid
(Grapeseed Oil)
(~5.7 minutes)
55
101
74
87
143
199
115
129
157
255
299
69

## Slide 21
Total Ion Chromatogram (TIC)
Time (minutes)
Sunflower Oil Sample
Oleic Acid Peak
Palmitic Acid Peak
Stearic Acid Peak

## Slide 22
Intensity
M/Z Ratio
Palmitic Acid
(Sunflower Oil)
(~4.2 minutes)
74
81
97
123
239
271
171
143
129

## Slide 23
Intensity
M/Z Ratio
Oleic Acid
(Sunflower Oil)
(~5.5 minutes)
81
95
109
123
135
165
151
246
297
122
264
180

## Slide 24
Intensity
M/Z Ratio
Stearic Acid
(Sunflower Oil)
(~5.8 minutes)
55
74
87
97
109
143
129
299
199

## Slide 25
Total Ion Chromatogram (TIC)
Time (minutes)
Corn Oil Sample
Linoleic Acid Peak
Palmitic Acid Peak
?

## Slide 26
Intensity
M/Z Ratio
Palmitic Acid
(Corn Oil)
(~4.2 minutes)
55
69
74
87
97
115
129
185
171
143
227
271
101

## Slide 27
Intensity
M/Z Ratio
Linoleic Acid
(Corn Oil)
(~5.3 minutes)
55
67
81
95
108
121
135
178
163
149
263
294

## Slide 28
Intensity
M/Z Ratio
Unknown Acid
(Corn Oil)
(~5.8 minutes)
55
67
81
95
109
123
135
149
280